GUIDE SPECIFICATION

Manufacturer:

Oldcastle BuildingEnvelope®

2425 Olympic Boulevard, Suite 525-East

Santa Monica, CA 90404

1-866-OLDCASTLE

SECTION 08411 - ALUMINUM STOREFRONTS  (SERIES 3000 FLUSH GLAZE)

*************************************************************************************************

This guide specification has been prepared by Oldcastle BuildingEnvelope® in printed and electronic media as an aid to specifiers in preparing written construction documents for storefront systems.

This section includes Series 3000 Flush Glaze for exterior and interior applications, shop fabricated, factory prefinished, for field glazing.  The system application is less than one story, usually from floor to spandrel beam above or less in height.

Sealants are referenced to Section 07900, Sealants Sealers.

Glass and glazing are referenced in Section 08810, Glass and Glazing.

Where work of this section integrates with curtain wall, sloped glazing system, skylight, windows, or other glazing system, carefully coordinate all sections to function together.  Air and vapor barrier continuity from this system to adjacent construction is critical to successful building air tightness; specify compatible materials in conjunction with adjacent air and vapor barriers.

Edit entire master to suit project requirements.  Modify or add items as necessary. Delete items which are not applicable.  Words and sentences within brackets [_____] reflect a choice to be made regarding inclusion or exclusion of a particular item or statement.  This section may include performance, proprietary, and descriptive type specifications.  Edit to avoid conflicting requirements.

Editor notes are included within the text of this section to assist the specifier in knowledgeable decision-making.

*************************************************************************************************

PART 1 - GENERAL

1.01	SUMMARY

1.	Related Documents:  Conditions of the Contract, Division 1 - General Requirements, and Drawings apply to Work of this Section.

*************************************************************************************************

Edit this paragraph to briefly describe the contents of the section.  After editing section, refer back to this paragraph to verify no conflicts exist.

*************************************************************************************************

B.	Section Includes:

1.	Storefront system, complete with reinforcing, fasteners, anchors, and attachment devices.

2.	Accessories necessary to complete work.

*************************************************************************************************

Edit paragraph below to suit project requirements.

*************************************************************************************************

C.	Products Furnished But Not Installed Under This Section:

1.	Anchoring devices which are built into masonry.

2.	Anchoring devices which are cast in concrete.

*************************************************************************************************

This document incorporates CSI (Construction Specifications Institute) Manual of Practice principles of cross referencing to Division 1 sections and other sections.  The cross references must be edited to retain only those other sections used.  Other guide specifications for Oldcastle BuildingEnvelope® are available as follows:

Section 07720 - Heat and Smoke Vents

Section 07821 - Acrylic Unit Skylights

Section 07822 - Glass Unit Skylights

Section 07825 - Metal Framed Skylights

Section 08411 thru 08413  Aluminum Entrances and Storefronts.

Section 08450  All Glass Entrances.

Section 08490  Sliding Mall Fronts.

Section 08950 - Translucent Panel System

Section 08921 thru 08927  Glazed Aluminum Curtain Walls.

Section 08960 - Sloped Glazing System

*************************************************************************************************

D.	Related Sections:

1.	Section 01430 - Mock-ups.

2.	Section 05500  Metal Fabrications.

3.	Section 06100  Rough Carpentry.

4.	Section 07900 - Joint Sealers.

5.	Section 08450  All Glass Entrances.

6.	Section 08470  Revolving Entrance Doors.

7.	Section 08490  Sliding Mall Fronts.

8.	Section 08520  Aluminum Windows.

9.	Section 08710 - Door Hardware.

10.	Section 08810 - Glass and Glazing.

11.	Section 08920  Glazed Aluminum Curtain Wall.

12	Section 08960  Sloped Glazing System.

*************************************************************************************************

List reference standards that are included within the text of this section.  Edit the following as required for project conditions.

*************************************************************************************************

1.02	REFERENCES

A.	Aluminum Association (AA):

1.	DAF-45		Designation System for Aluminum Finishes.

B.	American Architectural Manufacturers Association (AAMA):

1.	501			Methods of Test for Exterior Walls.

2.	501.2			Quality Assurance and Diagnostic Water Leakage Field Check of Installed Storefronts, Curtain Walls, and Sloped Glazing Systems.

3.	2605			Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels.

4.	611			Voluntary Specification for Anodized Architectural Aluminum.

5.	701			Voluntary Specifications for Pile Weatherstripping and Replaceable Fenestration Weatherseals.

6.	CW-10			Care and Handling of Architectural Aluminum From Shop to Site.

7.	SFM1			Aluminum Storefront and Entrance Manual.

C.	American Society for Testing and Materials (ASTM):

1.	A36			Structural Steel.

2.	A123			Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products.

3.	B209			Aluminum and Aluminum - Alloy Sheet and Plate.

4.	B221			Aluminum-Alloy Extruded Bars, Rods, Wire, Shapes, and Tubes.

5.	E283			Test Method for Rate of Air Leakage Through Exterior Windows, Curtain Walls and Doors.

6.	E330			Test Method for Structural Performance of Exterior Windows, Curtain Walls and Doors by Uniform Static Air Pressure Difference.

7.	E331			Test Method for Water Penetration of Exterior Windows, Curtain Walls and Doors by Uniform Static Air Pressure Difference.

D.	Glass Association of North America (GANA):

1.				Glazing Manual

E.	Federal Specifications (FS):

1.	TT-P-641G(1)		Primer Coating, Zinc Dust-Zinc Oxide (For Galvanized Surfaces).

2.	TT-P-645A		Primer, Paint, Zinc Chromate, Alkyd Type.

F.	Steel Structures Painting Council (SSPC):

1.				Cold-Applied Asphalt Mastic (Extra Thick Film).

*************************************************************************************************

Use the article below carefully; restrict statements to describe components used to assemble the system.  Do not repeat statements made in the SECTION INCLUDES article.  Restrict statements to identify system performance requirements or function criteria only.  Delete paragraphs not appropriate to project.

The following paragraphs represent a suggested listing of performance criteria.

*************************************************************************************************

1.03	SYSTEM REQUIREMENTS

A.	Design Requirements:

1.	Drawings are diagrammatic and do not purport to identify nor solve problems of thermal or structural movement, glazing, anchorage, or moisture disposal.

2.	Requirements shown by details are intended to establish basic dimension of units, sight lines and profiles of members.

3.	Provide concealed fastening.

4.	Provide entrance and storefront systems, including necessary modifications, to meet specified requirements and maintaining visual design concepts.

5.	Attachment considerations are to take into account site peculiarities and expansion and contraction movements so there is no possibility of loosening, weakening or fracturing connection between units and building structure or between units themselves.

6.	Provide for expansion and contraction due to structural movement without detriment to appearance or performance.

7.	Framing systems shall accommodate expansion and contraction movement due to surface temperature differentials of 180 degrees F without causing buckling, stress on glass, failure of joint seals, excessive stress on structural elements, reduction of performance, or other detrimental effects.

B.	Performance Requirements:

*************************************************************************************************

Coordinate wind loads with applicable building code.  Edit following paragraph accordingly.

*************************************************************************************************

1.	Wind loads: Provide framing system capable of withstanding wind load design pressures of          [_____] psf acting inward and [_____] psf acting outward.  The design pressures are based on      the [__________] Building Code; [_____] Edition.

2.	Air infiltration:  Air leakage through fixed light areas of storefront shall not exceed 0.06 cfm per square foot of surface area when tested in accordance with ASTM E283 at differential static pressure of 6.24 psf.

3.	    Water infiltration:  No uncontrolled leakage when tested in accordance with ASTM E331 at test        pressure of 10 psf as defined in AAMA 501.

4.	    Deflection:

Maximum calculated deflection of any framing member in direction normal to plane of wall when subjected to specified design pressures for spans up to and including 13’-6” shall be limited to [1/175] of its clear span and for spans greater than 13’-6” deflection shall be limited to [1/240] of its clear span + 1/4”, except that maximum deflection of members supporting plaster surfaces shall not exceed 1/360 of its span.

*************************************************************************************************

In cases of large spans, calculate maximum deflection and give consideration to visual impact.  If it appears desirable, specify an allowable deflection less than the amounts specified above.  Smaller deflections, however, will often require use of heavier cross sections or internal reinforcements.  Therefore, importance of visual impact must be weighed against added cost.

*************************************************************************************************

C.	Testing Requirements:  Provide components that have been previously tested by an independent testing laboratory.

*************************************************************************************************

Include submittal requirements below that are consistent with scope of project and extent of work of this section.  Only request submittals that are absolutely necessary.

*************************************************************************************************

*************************************************************************************************

Include submittal requirements below which are consistent with scope of project and extent of work of this section.  Only request submittals which are absolutely necessary.

*************************************************************************************************

1.04	SUBMITTALS

A.	General:  Submit in accordance with Section 01300.

B.	Product Data:

1.	Submit manufacturer's descriptive literature and product specifications.

2.	Include information for factory finishes, hardware, accessories, and other required components.

[3.	Include color charts for finish indicating manufacturer's standard colors available for selection.]

C.	Shop Drawings:

1.	Submit shop drawings covering fabrication, installation and finish of specified systems.

2.	Include following:

a.	Fully dimensioned plans and elevations with detail coordination keys.

b.	Locations of exposed fasteners and joints.

3.	Provide detailed drawings of:

a.	Composite members.

b.	Joint connections for framing systems and for entrance doors.

c.	Anchorage.

d.	System reinforcements.

e.	System expansion and contraction provisions.

f.	Glazing methods and accessories.

g.	Internal sealant requirements.

4.	Schedule of finishes.

D.	Samples:

1.	Submit manufacturers standard samples indicating quality of finish.

2.	Where normal texture or color variations are expected, include additional samples illustrating range of variation.

[3.	Submit samples for each type of glass, 12 x 12 inch size.]

E.	Test Reports:

1.	Standard Systems:  Submit certified copies of previous test reports substantiating performance of system in lieu of retesting.  Include other supportive data as necessary.

F.	Qualification Data:

1.	Submit installer qualifications verifying years of experience.

0.		Manufacturer's Instructions:  Submit manufacturer's printed installation instructions.

*************************************************************************************************

Include quality assurance requirements consistent with size and scope of project and extent of work of this section.  Edit following article accordingly.

*************************************************************************************************

1.05	QUALITY ASSURANCE

A.	Single Source Responsibility:

*************************************************************************************************

Oldcastle BuildingEnvelope® is unique in the industry in single source responsibility.  First, system design,

extrusion, fabrication, and finishing occur at the same facility, and under strict tolerances, assuring uniformity of profile and finishes between systems.  Second, Oldcastle BuildingEnvelope® products include a full array of storefront (including operable vents on some systems), curtainwall, all glass entrances, sliding mall fronts, sloped glazing, and flush faced aluminum framed doors, as well as all the monumental and unit skylight products, allowing the designer and specifier a single source of responsibility when combining products from any of these categories.

*************************************************************************************************

1.	To ensure quality of appearance and performance, obtain materials for systems from either a single manufacturer or from manufacturer approved by systems manufacturer.

B.	Installer Qualifications:  Certified in writing by system manufacturer as qualified for installation of specified systems.

C.	Perform Work in accordance with AAMA SFM1 and manufacturer's written instructions.

1.06	DELIVERY, STORAGE, AND HANDLING

A.	Comply with requirements of Section 01600.

B.	Protect finished surfaces as necessary to prevent damage.

C.	Do not use adhesive papers or sprayed coatings that become firmly bonded when exposed to sun.

D.	Do not leave coating residue on any surfaces.

E.	Replace damaged units.

1.07	WARRANTY

*************************************************************************************************

Note:  Longer warranty periods are available at additional cost.

*************************************************************************************************

A.	Provide warranties in accordance with Section 01700.

B.	Provide written warranty in form acceptable to Owner jointly signed by manufacturer, installer and Contractor warranting work to be watertight, free from deflective materials, defective workmanship, glass breakage due to defective design, and agreeing to replace components which fail within 1 year from date of Substantial Completion.

C.	Warranty shall cover following:

1.	Complete watertight and airtight system installation within specified tolerances.

2.	System is structurally sound and free from distortion.

*************************************************************************************************

Delete paragraph below if high performance fluoropolymer finish not used.

*************************************************************************************************

D.	Provide written warranty stating organic coating finish will be free from fading more than 10%, chalking, yellowing, peeling, cracking, pitting, corroding or non-uniformity of color, or gloss deterioration beyond manufacturer's descriptive standards for 1 year from date of Substantial Completion and agreeing to promptly correct defects.

PART 2 - PRODUCTS

2.01	MANUFACTURERS AND PRODUCTS

A.	Subject to compliance with requirements indicated, provide products by one of the following:

1.	Oldcastle BuildingEnvelope®, Terrell, TX.

B.	Substitutions: Submit under provisions of Section 01630, a minimum of 10 days prior to bid date.

*************************************************************************************************

Edit the following paragraphs for appropriate system in each category and delete remaining.  Refer to Oldcastle BuildingEnvelope® technical literature for additional information.

When specifying manufacturer's standard product or manufacturer's standard product with modifications, describe using manufacturer's name and model numbers.

*************************************************************************************************

C.	Acceptable Storefront Framing System:

Flush Glazed System, center set, exterior loaded

Series 3000 -	2" x 4 1/2" mullion profile; accommodates 1" glazing with 1/4" as an option.

2.02	FRAMING MATERIALS AND ACCESSORIES

A.	Aluminum:

1.	ASTM B221, alloy 6063-T5 for extrusions; ASTM B209, alloy 5005-H16 for sheets; or other alloys and temper recommended by manufacturer appropriate for specified finish.

B.	Internal Reinforcing:

1.	ASTM A36 for carbon steel.

2.	Shapes and sizes to suit installation.

3.	Steel components factory coated with alkyd type zinc chromate primer complying with FS TT-P-645.

C.	Anchorage Devices:

1.	Manufacturer's standard formed or fabricated steel or aluminum assemblies of shapes, plates, bars or tubes.

2.	Hot-dip galvanize steel assemblies after fabrication, comply with ASTM A123, 2.0 ounce minimum coating.

D.	Fasteners:

1.	Aluminum, non-magnetic stainless steel or other non-corrosive materials compatible with items being fastened.

2.	Provide concealed fasteners wherever possible.

3.	For exposed locations, provide Phillips flathead screws with finish matching item fastened.

4.	For concealed locations, provide manufacturer's standard fasteners.

E.	Expansion Anchor Devices:  Lead-shield or toothed-steel, drilled-in, expansion bolt anchors.

F.	Protective Coatings:  Cold-applied asphalt mastic complying with SSPC, compounded for 30 mil thickness for each coat; or alkyd type zinc chromate primer complying with FS TT-P-645.

G.	Touch-Up Primer for Galvanized Compone	nts:  Zinc oxide conforming with FS TT-P-641.

H.	Glazing Gaskets:

1.	Compression type design, replaceable, molded or extruded, of neoprene, polyvinyl chloride (PVC), or ethylene propylene diene monomer (EPDM).

2.	Profile and hardness as required to maintain uniform pressure for watertight seal.

I.	Weatherstripping:

1.	Wool pile conforming to AAMA 701.2.

2.	Provide EPDM or vinylblade gasket weatherstripping in bottom door rail, adjustable for contact with threshold.

J.	Internal Sealants and Baffles.

2.03	GLASS AND GLAZING ACCESSORIES

A.	Refer to Section 08810.

2.04	FABRICATION

A.	Coordination of Fabrication:

1.	Check actual frame or door openings required in construction work by accurate field measurements before fabrication.

2.	Fabricate units to withstand loads that will be applied when system is in place.

B.	General

1.	Conceal fasteners wherever possible.

2.	Reinforce work as necessary for performance requirements, and for support to structure.

3.	Separate dissimilar metals and aluminum in contact with concrete utilizing protective coating or preformed separators, which will prevent contact and corrosion.

4.	Comply with Section 08810 for glazing requirements.

*************************************************************************************************

Glazing is normally done after system has been erected and done from inside or outside.  Large plates of glass can normally be glazed most readily from outside.  Headroom and space often make it impossible to glaze from inside.  Glass replacement must also be considered.  Edit item below for inside or outside glazing.

*************************************************************************************************

C.	Aluminum Framing:

1.	Provide members of size, shape and profile indicated, designed to provide for glazing from [exterior] [interior].

2.	Fabricate frame assemblies with joints straight and tight fitting.

3.	Reinforce internally with structural members as necessary to support design loads.

4.	Maintain accurate relation of planes and angles, with hairline fit of contacting members.

5.	Seal horizontals and direct moisture accumulation to exterior.

6.	Provide flashings and other materials used internally or externally that are corrosive resistant, non-staining, non-bleeding and compatible with adjoining materials.

7.	Provide manufacturer's extrusions and accessories to accommodate expansion and contraction due to temperature changes without detrimental to appearance or performance.

D.	Welding:

1.	Comply with recommendations of the American Welding Society.

2.	Use recommended electrodes and methods to avoid distortion and discoloration.

3.	Grind exposed welds smooth and flush with adjacent surfaces; restore mechanical finish.

E.	Flashings:  Form from sheet aluminum with same finish as extruded sections.  Apply finish after fabrication.  Material thickness as required to suit condition without deflection or "oil-canning".

*************************************************************************************************

Select and edit following items for appropriate finish; delete inapplicable types.  Oldcastle BuildingEnvelope® is a licensed applicator for all of the coating manufacturers listed below.

*************************************************************************************************

2.05	FINISHES

A.	Organic Coating (high performance fluorocarbon):

1.	Comply with requirements of AAMA 2605.

2.	Surfaces cleaned and given conversion coating pre-treatment prior to application of 0.3 mil dry film thickness of epoxy or acrylic primer following recommendations of finish coat manufacturer.

3.	Finish coat of 70% minimum fluorocarbon resin fused to primed surfaces at temperature recommended by manufacturer, 1.0 mil minimum dry film thickness.

4.	Acceptable coatings are Trinar by Akzo Coatings, Inc.; Nubelar by Glidden Company; Fluoroceram by Morton International, Inc.; Duranar by PPG Industries Inc.; and Fluropon by Valspar Corporation.

5.	Provide in either a 2, 3, or 4 coat system as required for color selected.

6.	[Custom colors as selected by Architect.]

***** OR *****

[7.	Manufacturer's standard colors as selected by Architect.]

***** OR *****

*************************************************************************************************

Oldcastle Glass® Vistawall® utilizes a computer driven anodizing system which produces the closest color range available.

*************************************************************************************************

[B.	Clear Anodized:

1.	Conforming to AA-M12C22A31 and AAMA 611.

2.	Architectural Class II, etched, medium matte, clear anodic coating, 0.4 mil minimum thickness.]

***** OR *****

[C.	Color Anodized:

1.	Conforming to AA-M12C22A44 and AAMA 611.

2.	Architectural Class [I] [II], etched, medium matte, [black] [dark bronze] [medium bronze] [light bronze] colored anodic coating, [0.7] [0.4] mil minimum thickness.]

PART 3 - EXECUTION

3.01	EXAMINATION

A.	Examine conditions and proceed with Work in accordance with Section 01400.

3.02	INSTALLATION

A.	Erection Tolerances:

1.	Limit variations from plumb and level:

a.	1/8 inch in 10'-0" vertically.

b.	1/8 inch in 20'-0" horizontally.

2.	Limit variations from theoretical locations:  1/4 inch for any member at any location.

3.	Limit offsets in theoretical end-to-end and edge-to-edge alignment:  1/16 inch from flush surfaces not more than 2 inches apart or out-of-flush by more than 1/4 inch.

B.	Install doors and hardware in accordance with manufacturer's printed instructions.

C.	Set units plumb, level and true to line, without warp or rack of frame.

D.	Anchor securely in place, allowing for required movement, including expansion and contraction.

E.	Separate dissimilar materials at contact points, including metal in contact with masonry or concrete surfaces, with bituminous paint or preformed separators to prevent contact and corrosion.

F.	Set sill members in bed of sealant.  Set other members with internal sealants and baffles to provide weather-tight construction.

G.	Coordinate installation of perimeter sealant and backing materials between assemblies and adjacent construction in accordance with requirements of Section 07920.

H.	Glazing:  Refer to requirements of Section 08810.

3.03	ADJUSTING

A.	Test door operating functions.  Adjust closing and latching speeds and other hardware in accordance with manufacturer's instructions to ensure smooth operation.

3.04	CLEANING

A.	Clean surfaces in compliance with manufacturer's recommendations; remove excess mastic, mastic smears, foreign materials and other unsightly marks.

B.	Clean metal surfaces exercising care to avoid damage.

END OF SECTION